MSEB Substation IoT Project Documentation

Overview

The MSEB Substation IoT system is designed to monitor and control electrical parameters such as current, voltage, and relay status in a substation setting. It uses an ESP32 microcontroller to interface with sensors and control systems. The data is sent to the Blynk cloud platform, which allows for remote monitoring and control of the system through a mobile app or web interface. The system also includes an Arduino to control relay-based operations and integrate safety features, such as a buzzer for alerting.

Components Used

- ESP32 Microcontroller: Handles all communication with Blynk, reads sensor data, and controls relay operations.

- ACS712 Current Sensor: Measures current flowing through the system.

- Voltage Sensor: Measures the voltage in the substation using a voltage divider circuit.

- Relay Module: Controls the operation of connected devices in the substation, such as switching equipment on or off.

- Buzzer: Provides an alert when the current exceeds a certain threshold.

- Push Button: Manually triggers actions, such as switching on or off.

- Blynk Platform: Cloud-based service used for monitoring and controlling the system remotely via mobile app.

Libraries Used and Initialization

Libraries:

- WiFi.h: Handles Wi-Fi connectivity for ESP32.

- BlynkSimpleEsp32.h: Manages communication between ESP32 and Blynk cloud service.

- Arduino.h: Handles basic Arduino functionalities.

Initialization:

- Wi-Fi Credentials:

- const char* ssid = "your_wifi_name";

- const char* password = "your_wifi_password";

- Blynk Configuration:

  - Template ID:
#define BLYNK_TEMPLATE_ID "TMPL3xeSVTRGr"

  - Template Name:
#define BLYNK_TEMPLATE_NAME "MSEB Substation IOT"

  - Blynk Auth Token:
#define BLYNK_AUTH_TOKEN "IjJhhinHRn5yGYLXwqCbPZt2_hNnpPkd"

- Pin Assignments:

  - Relay Pin: #define relay 4

  - Push Button Pin: #define pbutton 21

  - Current Sensor Pin (Analog): #define cur_sensorIn 33

  - Voltage Sensor Pin (Analog): #define ANALOG_IN_PIN 32

System Architecture

The system architecture is designed to include four main layers:

- Input Layer:

  - Sensors: ACS712 current sensor, voltage sensor.

  - Push Button: To manually trigger actions like switching on/off.

- Processing Layer:

  - ESP32: Acts as the microcontroller that processes sensor data and handles communication with Blynk. It calculates the current and voltage values, stores them temporarily, and sends them to the cloud.

- Communication Layer:

  - Wi-Fi Connection: The ESP32 uses Wi-Fi to connect to the internet and communicate with the Blynk platform.

- Output Layer:

  - Relay: Activates or deactivates based on voltage and current readings.

  - Buzzer: Sounds when the current exceeds a safe threshold.

  - Blynk Dashboard: Displays real-time data like voltage, current, and system status.

System Flow

- Startup:

  - The ESP32 initializes by connecting to the Wi-Fi network.

  - It then establishes a connection with the Blynk cloud using the provided Auth Token.

  - Initial system status is displayed on the Blynk Dashboard.

- Data Collection:

  - Voltage and Current Measurement:

    - The voltage and current are measured in real-time using the sensors.

    - Current is calculated by measuring the voltage drop across the ACS712 sensor and converting it into amperes.

    - Voltage is measured using the voltage divider circuit.

- Data Transmission:

  - The ESP32 transmits the current and voltage data to the Blynk cloud every second.

  - The data is displayed on the Blynk Dashboard via virtual pins (V0 for current, V1 for voltage).

- Control Mechanism:

  - If the voltage falls below a certain threshold (e.g., 9V), the relay is activated to power on the connected equipment.

  - A push button allows the user to manually intervene in the system.

  - If the current exceeds the predefined limit, the buzzer is triggered, and the relay is turned off to prevent overload.

How to Set Up Blynk from Scratch

1. Create a Blynk Account:

- Go to the Blynk website.

- Sign up for a new account or log in if you already have one.

2. Create a New Template:

- Once logged in, click on Create New Template in the Blynk dashboard.

- Set a Template Name (e.g., MSEB Substation IoT).

- Select ESP32 as the hardware model.

- Choose Wi-Fi as the connection type.

3. Obtain Blynk Auth Token:

- After creating the template, click on the Devices tab.

- Click Add Device to create a new device.

- Once the device is created, you will get the Auth Token that is required to communicate with your ESP32.

4. Create Widgets (Data Streams) on the Blynk Dashboard:

- In the Dashboard section, click on Add Widget.

- Add a Value Display widget to show the current (use V0 virtual pin).

- Add another Value Display widget to show the voltage (use V1 virtual pin).

- Add a Button widget to control the relay (use V3 virtual pin).

5. Configure the Widgets:

- Set the widgets to show the appropriate values.

- Configure the Button widget to control the relay output based on the virtual pin V3.

6. Set Up Device Credentials:

- In the Blynk app, under the Device Settings, input the Auth Token generated for the device.

Blynk App Configuration

- Wi-Fi Credentials:

const char* ssid = "your_wifi_name";

const char* password = "your_wifi_password";

- Blynk Credentials:

#define BLYNK_AUTH_TOKEN "Your_Blynk_Auth_Token"

- Widget Configuration on Blynk:

  - Virtual Pins:

    - V0: Current

    - V1: Voltage

    - V3: Relay switch

  - Data Stream Widgets:

    - Display current and voltage using Value Display widgets.

  - Control Widgets:

    - Use the Button widget for controlling the relay.

Conclusion

The MSEB Substation IoT project demonstrates how IoT technology can be applied to monitor and control electrical parameters in real time. By integrating sensors with an ESP32 and utilizing the Blynk platform for cloud-based monitoring and control, the system offers a scalable and secure solution for substation management. The Blynk app provides an intuitive interface for remote monitoring, while the relay and buzzer functionalities ensure automatic and manual control for safety and operational efficiency.